## Slide 5: Diffraction Grating Spectrometer
The collimated beam is incident on the grating
The diffracted light leaves the gratings and the telescope is used to view the image
The wavelength can be determined by measuring the precise angles at which the images of the slit appear for the various orders

## Slide 6: Details

## Slide 7: Diffraction Grating, Intensity, cont.
Characteristics of the intensity pattern
  The sharp peaks are in contrast to the broad, bright fringes characteristic of the two-slit interference pattern
  Because the principle maxima are so sharp, they are much brighter than two-slit interference patterns

## Slide 8: Grating Light Valve
A grating light valve consists of a silicon microchip fitted with an array of parallel silicon nitride ribbons coated with a thin layer of aluminum
When a voltage is applied between a ribbon and the electrode on the silicon substrate, an electric force pulls the ribbon down
The array of ribbons acts as a diffraction grating

## Slide 9: Resolving Power of a Diffraction Grating
For two nearly equal wavelengths, λ1 and λ2, between which a diffraction grating can just barely distinguish, the resolving power, R, of the grating is defined as
Therefore, a grating with a high resolution can distinguish between small differences in wavelength

## Slide 10
Single Slit Envelope
Intensity pattern
2 slits
3 slits
4 slits
5 slits
10 slits
100 slits

## Slide 11: Resolving Power of a Diffraction Grating, cont
The resolving power in the mth-order diffraction is R = Nm
  N is the number of slits
  m is the order number
Resolving power increases with increasing order number and with increasing number of illuminated slits

## Slide 12: AIRS

## Slide 14: Single-Slit Diffraction
a

a/2

## Slide 15: Diffraction Pattern, Single Slit
The diffraction pattern consists of the central maximum and a series of secondary maxima and minima
The pattern is similar to an interference pattern

## Slide 16: Diffraction Pattern, Object Edge
This shows the upper half of the diffraction pattern formed by light from a single source passing by the edge of an opaque object
The diffraction pattern is vertical with the central maximum at the bottom

## Slide 17: Fraunhofer Diffraction Pattern
A Fraunhofer diffraction pattern occurs when the rays leave the diffracting object in parallel directions
  Screen very far from the slit
  Could be accomplished by a converging lens

## Slide 18: Fraunhofer Diffraction Pattern Photo
A bright fringe is seen along the axis (θ = 0)
Alternating bright and dark fringes are seen on each side

## Slide 19: Diffraction vs. Diffraction Pattern
Diffraction refers to the general behavior of waves spreading out as they pass through a slit
A diffraction pattern is actually a misnomer that is deeply entrenched
  The pattern seen on the screen is actually another interference pattern
  The interference is between parts of the incident light illuminating different regions of the slit

## Slide 20: Single-Slit Diffraction
a

a/2
5
4
3
2
1

## Slide 21: Single-Slit Diffraction
a

a/6

## Slide 22: Single-Slit Diffraction, 2
The resultant light intensity on a viewing screen depends on the direction θ
The diffraction pattern is actually an interference pattern
  The different sources of light are different portions of the single slit

## Slide 23: Single-Slit Diffraction, Analysis
All the waves that originate at the slit are in phase
Wave 1 travels farther than wave 3 by an amount equal to the path difference
  (a/2) sin θ
If this path difference is exactly half of a wavelength, the two waves cancel each other and destructive interference results
In general, destructive interference occurs for a single slit of width a when sin θdark = mλ / a
  m = ±1, ±2, ±3, …

## Slide 24: Diffraction from Narrow Slits

## Slide 25: Single-Slit Diffraction, Intensity
The general features of the intensity distribution are shown
A broad central bright fringe is flanked by much weaker bright fringes alternating with dark fringes
Each bright fringe peak lies approximately halfway between the dark fringes
The central bright maximum is twice as wide as the secondary maxima

## Slide 26: Intensity of Single-Slit Diffraction Patterns
Phasors can be used to determine the light intensity distribution for a single-slit diffraction pattern
Slit width a can be thought of as being divided into zones
  The zones have a width of Δy
Each zone acts as a source of coherent radiation

## Slide 27: Intensity
The intensity can also be expressed as
Minima occur at

## Slide 28: sinc(x)

## Slide 29: (sinc(x))2

## Slide 30

2
-2
-
/2
I
Interference fringes:
due to having a single slit

## Slide 31: Intensity, final
Most of the light intensity is concentrated in the central maximum
The graph shows a plot of light intensity vs. β/2

## Slide 32: Intensity of Two-Slit Diffraction Patterns
When more than one slit is present, consideration must be made of
  The diffraction patterns due to individual slits
  The interference due to the wave coming from different slits
The single-slit diffraction pattern will act as an “envelope” for a two-slit interference pattern

## Slide 33: Intensity Equation
To determine the maximum intensity:
  The factor in the square brackets represents the single-slit diffraction pattern
    This acts as the envelope
  The two-slit interference term is the cos2 term

## Slide 34: Missing Maxima
To find which interference maximum coincides with the first diffraction minimum
  The conditions for the first interference maximum
    d sin θ = mλ
  The conditions for the first diffraction minimum
    a sin θ = λ

## Slide 35
5

3
-3
-
-5
/2
Interference fringes:
due to having two slits.
I

## Slide 36
Diffraction envelope:
The single slit pattern due to shape of the individual slits.
Interference fringes:
due to having two slits.
I
2

3
-2
-
-3
/2